## Slide 1: ME 200 Thermodynamics
Lecture 12 – Typical Power Cycle

## Slide 2
Analysis of a Typical Power Cycle
Notes: Want to find the pipe diameter at 6

## Slide 3
Analysis of a Typical Power Cycle
c) Determine the diameter of pipe connecting turbine to the condenser.

## Slide 4
Analysis of a Typical Power Cycle
Notes: Look at state 5 and state 6

## Slide 5
Some Steady-Flow Engineering Devices
Below are some engineering devices that operate essentially as SSSF processes:

## Slide 6
What is a condenser?
Compressor
Throttling device
Mixing chamber
Heat exchanger
Diffuser
Notes: 1 minute to think

## Slide 7
Analysis of Typical Power Cycle

## Slide 8
Analysis of Typical Power Cycle
d) Flow rate of cooling water through the condenser if the temperature of the cooling water increases from 15 oC to 25 oC.
⑦
⑥
a
b
Notes: Cross flow and counter flow heat exchanger.

## Slide 9
Analysis of Typical Power Cycle
d) Flow rate of cooling water through the condenser if the temperature of the cooling water increases from 15 oC to 25 oC.
⑦
⑥
a
b
Which is the most likely design for a condenser?
Notes: 30 seconds to think

## Slide 10
Analysis of Typical Power Cycle
d) Flow rate of cooling water through the condenser if the temperature of the cooling water increases from 15 oC to 25 oC.
⑦
⑥
a
b
Assumptions for non-mixed heat exchanger:
No work transfer.
Steady state
Negligible heat loss.
Neglect changes in PE and KE.
Lumped analysis is sufficient.
Properties are defined at inlets to both fluid streams.

## Slide 11
Analysis of Typical Power Cycle
d) Flow rate of cooling water through the condenser if the temperature of the cooling water increases from 15 oC to 25 oC.
⑦
⑥
a
b
C.V. #1

## Slide 12
Analysis of Typical Power Cycle
d) Flow rate of cooling water through the condenser if the temperature of the cooling water increases from 15 oC to 25 oC.
⑦
⑥
a
b
C.V. #2

## Slide 13
Analysis of a Typical Power Cycle
Notes: Efficiency

## Slide 14
Analysis of a Typical Power Cycle
e) What is the “efficiency” of the cycle?
X
Notes: Most efficient power plant is around 60%. 30% is not a very good one.
More than one hour to do a full hour. Make a mistake, the mistake continues onwards.